CMCMIS_SIMPLIFIED

Computerized Maintenance & Calibration

Management Information System

PROJECT MASTER REFERENCE DOCUMENT

Phase 0 → Phase 2 · Consolidated

| Field | Value |
| --- | --- |
| Project Name | CMCMIS_SIMPLIFIED |
| Domain | Metrology · Calibration · Maintenance |
| Environment | High-Precision Engineering (ISRO SAC-like) |
| Prepared by | Deep Sorathiya (DS) — Software Developer Intern |
| Document type | Master Reference Document |
| Phases covered | Phase 0, Phase 1, Phase 2 |
| Status | Locked / Approved |
| Document version | v1.0 |
| Prepared date | May 15, 2026 |
| Next phase | Phase 3 — Database Design |

PURPOSE OF THIS DOCUMENT

This is the single source of truth for CMCMIS_SIMPLIFIED through the end of Phase 2. Every decision, rule, role, module, and architectural choice contained here is locked. Subsequent phases (Database Design, API Contracts, Implementation, Hardening, Deployment) extend this document but do not supersede the foundations established here.

# Table of Contents

# Executive Summary

CMCMIS_SIMPLIFIED is an industry-grade web information system to digitize the end-to-end workflow of test/measurement and production equipment in a high-precision engineering laboratory environment. It replaces ad-hoc tracking (spreadsheets, paper forms, manual follow-ups) with a role-aware, auditable, single source of truth used daily by engineers, lab leads, and the super administrator.

The project is being delivered as a solo-developer internship project over 10 weeks with a production-grade quality target. Three of the original nine modules (Auth & RBAC, Equipment + Job Requests + Job Cards, Dashboard + Inquiry) constitute the Minimum Viable Product. The remaining modules (Schedule, Procurement, Reports, Master Data UI, Notifications) are deferred to Phase 2 post-handoff.

This document captures every locked decision from the discovery, ideation, and architecture phases: 20+ master decisions, 45 functional requirements, 40+ business rules, a complete 5-role permission matrix, full system architecture, technology stack, security layering, and a week-by-week execution roadmap. It is intended as both a developer reference and a stakeholder briefing document.

### Status snapshot

| Phase | Status | Outcome |
| --- | --- | --- |
| Phase 0 — Discovery & Requirements Capture | Complete | 23 questions resolved; domain understood; gaps surfaced |
| Phase 1 — Domain Modeling & Ideation | Complete | 5 personas, 3 critical journeys, 40+ rules, 45 FRs, MVP scope locked |
| Phase 2 — System Architecture & Tech Stack | Complete | Monolith design, full stack chosen, 20 decisions locked |
| Phase 3 — Database Design (60+ tables) | Next | Schema audit + reconciliation + CREATE TABLE scripts |

# Part I — Foundation

## 1. Project Identity

CMCMIS_SIMPLIFIED is positioned as a long-lived internal system supporting daily operational workflows in a metrology / calibration laboratory environment. Its identity attributes are summarised below.

| Attribute | Value |
| --- | --- |
| System name | CMCMIS_SIMPLIFIED |
| Full form | Computerized Maintenance & Calibration Management Information System (Simplified) |
| Domain | Metrology · Calibration · Repair · Maintenance · Registration |
| Operating environment | High-precision engineering laboratory (ISRO SAC-like) |
| Equipment categories served | T&ME (Test & Measurement Equipment), F&PE (Fabrication & Production Equipment) |
| System type | Internal web application (intranet-only) |
| Deployment topology | On-premises / organisation private infrastructure |
| Architectural style | 3-tier monolith (SPA + REST API + RDBMS) |
| Frontend stack | React 18 + Vite + TailwindCSS |
| Backend stack | Node.js + Express |
| Database engine | MySQL 8.x (administered via phpMyAdmin) |
| Authentication (v1) | Employee-ID + DB password |
| Authentication (future) | Active Directory SSO-ready |
| Compliance posture | Audit-friendly architecture; NABL/ISO not enforced in v1 |
| Internship duration | 10 weeks, solo developer |
| Developer | Deep Sorathiya (DS) |
| Designation | Software Developer Intern |

## 2. Phase Journey So Far

The project follows a disciplined phase model. Each phase produces concrete artefacts that feed the next. The journey through Phase 0, Phase 1, and Phase 2 has been completed and documented in full.

✓ PHASE 0 — Discovery & Requirements Capture           [DONE]

✓ PHASE 1 — Domain Modeling & Ideation                 [DONE]

✓ PHASE 2 — System Architecture & Tech Stack           [DONE]

> PHASE 3 — Database Design (60+ tables)               [NEXT]

PHASE 4 — API Contract Design

PHASE 5 — Module Implementation

PHASE 6 — Security Hardening + Testing

PHASE 7 — Scaling, Caching, Observability

PHASE 8 — Deployment

PHASE 9 — Handover Documentation

## 3. Scope — Locked

### 3.1 Inside the 10-Week MVP

| Scope Area | Items |
| --- | --- |
| MVP Modules | Auth + RBAC; Equipment master & register & verify; Job Requests; Job Cards; Dashboard; Inquiry |
| Cross-cutting | PDF generation (job card + calibration certificate); Audit logs (basic); Responsive UI; Row-level visibility |
| Authentication | Employee-ID + password against DB; JWT + refresh cookie; 5-role RBAC |
| Bootstrap | At least 2 Super Admin employee IDs seeded via environment variable |

### 3.2 Deferred to Phase 2 (Post-Internship Handoff)

These modules are deliberately deferred to keep the 10-week timeline realistic. Their schemas will still be designed in Phase 3 so future development is not blocked.

- Schedule module (Preventive Maintenance + Calibration calendar)

- Procurement (Purchase Orders + Spare Parts inventory)

- Reports (Analytics + Exports — PDF / Excel)

- Master Data Management UI (Super Admin only — Employees, Vendors, Equipment Types, Divisions, Lookups)

- Notifications (In-app feed)

### 3.3 Backlog (Future Releases)

- SSO / Active Directory integration

- Email / SMTP notifications

- Mobile / tablet optimised views

- Barcode / QR equipment tagging

- Backup & Disaster Recovery infrastructure

- NABL / ISO 17025 calibration certificate templates

- Multi-language support

- Bulk import / export

- External API for system integration

### 3.4 Architectural Simplifiers (Strategic Decisions)

| Simplifier | Consequence |
| --- | --- |
| No persistent file storage — PDFs generated on demand | No upload pipeline, no virus scanning, no storage quotas, no backup of files |
| No email / SMTP integration | No async queues; all notifications are in-app records pulled at login |
| No Redis or caching layer | Optimised SQL + pagination + connection pooling are sufficient at expected scale |
| Desktop / laptop primary (responsive design only) | No native app, no offline mode, no field-engineer mobile workflows |

## 4. Domain Knowledge Captured

A correct schema and module design depend on a correct understanding of the domain. The following concepts have been captured during discovery and shape the architecture even where they are not explicitly enforced in v1.

### 4.1 T&ME vs F&PE — The Two Equipment Categories

| Category | Meaning | Examples | Calibration Required? |
| --- | --- | --- | --- |
| T&ME | Test & Measurement Equipment — instruments that measure signals or physical quantities | Oscilloscopes, multimeters, spectrum analysers, power meters, signal generators, network analysers | Yes — periodic |
| F&PE | Fabrication & Production Equipment — equipment used to make or produce hardware | Soldering stations, vacuum chambers, environmental test chambers, ESD setups, reflow ovens | Optional |

### 4.2 Core Metrology Concepts

These concepts inform schema and workflow design. Some are first-class features in v1; others are captured at field-level for future enforcement.

| Concept | Meaning | v1 Treatment |
| --- | --- | --- |
| Calibration | Comparing an instrument's reading against a reference standard; may include adjustment | Tracked via Job Cards |
| Traceability chain | Every calibration must trace back to a national / international standard (e.g., NIST, NABL) | Schema-ready; not enforced in v1 |
| Out-of-tolerance (OOT) | Instrument reading falls outside acceptable limits | Captured as observation in v1 |
| Uncertainty | Statistical confidence interval on a measurement | Captured as field; no formal budget calculation in v1 |
| Calibration certificate | Legal / audit document issued after every calibration | Generated as PDF on demand, downloadable |
| Environmental conditions | Temperature, humidity, pressure recorded during calibration | Captured as fields on the job card |
| Recall procedure | Standards failure triggers re-evaluation of dependent calibrations | Out of scope in v1 |

ℹ INFO — The system is intentionally architected to be metrology-aware even though v1 does not enforce full ISO 17025 / NABL workflows. This allows the database schema and module structure to extend naturally if formal accreditation is pursued later.

# Part II — People & Access

## 5. Role Model — Final (5 Roles)

CMCMIS_SIMPLIFIED operates on a 5-role hierarchy. The earlier draft included a separate Admin role; this has been collapsed into Super Admin to simplify governance and reduce role-overlap ambiguity. The Super Admin now absorbs all master data management and system configuration responsibilities.

### 5.1 Role Hierarchy

┌──────────────────┐

│   SUPER ADMIN    │  ← role assignment + master data + config

└────────┬─────────┘

│

┌────────┴─────────┐

│  LAB IN-CHARGE   │  ← approves, assigns, verifies, schedules

└────────┬─────────┘

│

┌────────┴─────────┐

│  LAB ENGINEER    │  ← executes jobs, fills cards

└────────┬─────────┘

│

┌──────────────┼──────────────┐

▼                              ▼

┌──────────────────┐          ┌──────────────────┐

│   NORMAL USER    │          │  VIEW-ONLY USER  │

│  (raises req.)   │          │  (read-only)     │

└──────────────────┘          └──────────────────┘

### 5.2 Role Responsibilities (At a Glance)

| Role | Primary Responsibility | Bootstrap |
| --- | --- | --- |
| Super Admin | Role assignment, master data management, system integrity, audit oversight | Seeded via env var (≥2 IDs) |
| Lab In-Charge | Approve job requests, assign engineers, verify completed work, manage schedules | Assigned by Super Admin |
| Lab Engineer | Execute assigned jobs, fill job cards, record observations, generate PDFs | Assigned by Super Admin |
| Normal User | Raise job requests, track own requests | Default for any new login without role |
| View-Only User | Read all data; no write actions; for auditors / management | Assigned by Super Admin |

⚠ NOTE — The Super Admin role is powerful — it concentrates role assignment, master data, and system configuration. Bootstrap policy requires at least two Super Admin employee IDs to be seeded so coverage exists during leave or handover.

## 6. Complete Permission Matrix

Every API endpoint and UI affordance is gated by a permission. Permissions follow a three-layer model: User → Role → Permission → Resource:Action. The matrix below is the authoritative reference; the codebase reads it from the database, not from hard-coded role names.

### 6.1 Authentication & Identity

| Resource : Action | Normal | View-Only | Lab Engineer | Lab In-Charge | Super Admin |
| --- | --- | --- | --- | --- | --- |
| auth:login | ✓ | ✓ | ✓ | ✓ | ✓ |
| auth:logout | ✓ | ✓ | ✓ | ✓ | ✓ |
| auth:refresh-token | ✓ | ✓ | ✓ | ✓ | ✓ |
| me:read (own profile) | ✓ | ✓ | ✓ | ✓ | ✓ |

### 6.2 User & Role Management

| Resource : Action | Normal | View-Only | Lab Engineer | Lab In-Charge | Super Admin |
| --- | --- | --- | --- | --- | --- |
| user:read-list | ✗ | ✗ | ✗ | ✗ | ✓ |
| user:role-assign | ✗ | ✗ | ✗ | ✗ | ✓ |
| user:activate / deactivate | ✗ | ✗ | ✗ | ✗ | ✓ |

### 6.3 Equipment

| Resource : Action | Normal | View-Only | Lab Engineer | Lab In-Charge | Super Admin |
| --- | --- | --- | --- | --- | --- |
| equipment:read-list | ✓ | ✓ | ✓ | ✓ | ✓ |
| equipment:read-detail | ✓ | ✓ | ✓ | ✓ | ✓ |
| equipment:create | ✓ | ✗ | ✓ | ✓ | ✓ |
| equipment:update | ✗ | ✗ | ✓ | ✓ | ✓ |
| equipment:verify (PENDING → ACTIVE) | ✗ | ✗ | ✗ | ✓ | ✓ |
| equipment:condemn | ✗ | ✗ | ✗ | ✓ | ✓ |
| equipment:delete (hard) | ✗ | ✗ | ✗ | ✗ | ✓ |

### 6.4 Job Requests

| Resource : Action | Normal | View-Only | Lab Engineer | Lab In-Charge | Super Admin |
| --- | --- | --- | --- | --- | --- |
| job_request:create | ✓ | ✗ | ✓ | ✓ | ✓ |
| job_request:read-own | ✓ | ✓ | ✓ | ✓ | ✓ |
| job_request:read-all | ✗ | ✓ | ✓ | ✓ | ✓ |
| job_request:approve / reject | ✗ | ✗ | ✗ | ✓ | ✓ |
| job_request:assign-engineer | ✗ | ✗ | ✗ | ✓ | ✓ |

### 6.5 Job Cards

| Resource : Action | Normal | View-Only | Lab Engineer | Lab In-Charge | Super Admin |
| --- | --- | --- | --- | --- | --- |
| job_card:read-list / detail | ✗ | ✓ | ✓ | ✓ | ✓ |
| job_card:start / update-tasks / complete (own) | ✗ | ✗ | ✓ | ✗ | ✓ |
| job_card:verify-close | ✗ | ✗ | ✗ | ✓ | ✓ |
| job_card:reopen | ✗ | ✗ | ✗ | ✓ | ✓ |
| job_card:generate-pdf | ✗ | ✓ | ✓ | ✓ | ✓ |

### 6.6 Dashboard, Inquiry, Master Data, Audit

| Resource : Action | Normal | View-Only | Lab Engineer | Lab In-Charge | Super Admin |
| --- | --- | --- | --- | --- | --- |
| dashboard:view | ✓ | ✓ | ✓ | ✓ | ✓ |
| inquiry:search-* | ✓ | ✓ | ✓ | ✓ | ✓ |
| master:*:manage | ✗ | ✗ | ✗ | ✗ | ✓ |
| audit_log:read | ✗ | ✗ | ✗ | ✗ | ✓ |
| export:trigger (PDF / Excel) | ✗ | ✗ | ✓ | ✓ | ✓ |

ℹ INFO — Row-level visibility applies in addition to the matrix: Normal User sees only own job requests; Lab Engineer sees own assignments + the team queue; Lab In-Charge / Super Admin / View-Only see all records.

## 7. Personas (Final 5)

Each persona below represents a typical user with a realistic day-in-the-life pattern. Personas are not literal employees; they are archetypes used to validate UX decisions and prioritise screens by frequency of use.

| # | Persona | Role | Frequency of Use | Primary Goal |
| --- | --- | --- | --- | --- |
| 1 | Suresh | Super Admin | Weekly | Role assignment, master data integrity, audit oversight |
| 2 | Meena | Lab In-Charge | All day, in chunks | Triage, assign, verify, schedule |
| 3 | Ravi | Lab Engineer | 5–10 times per day | Execute jobs, fill cards efficiently |
| 4 | Karthik | Normal User | 1–2 times per week | Raise and track service requests |
| 5 | Anjali | View-Only User | Weekly / monthly | Operational oversight and audit |

### 7.1 A Day in the Life — Ravi (Lab Engineer)

08:55  Logs in → Dashboard: 4 jobs assigned to me, 2 overdue

09:00  Opens first job card → reads observation history

09:10  Goes to lab → physically calibrates instrument

10:30  Returns → opens job card → enters readings, checks tasks

10:45  Generates PDF cal report → downloads → hands to user

11:00  Marks job "Completed" → moves to next job

...

17:30  Dashboard: 2 jobs closed today, 1 in-progress, 1 pending verification

Design implication: the job card detail view must be the most polished screen in the system. Ravi opens it more than ten times per day.

### 7.2 A Day in the Life — Meena (Lab In-Charge)

09:00  Dashboard: 6 new job requests overnight

09:05  Reviews each → assigns to engineers based on workload

09:30  Approves 2 high-priority repair requests

10:00  Checks calibration due list → schedules 4 upcoming calibrations

11:00  Verifies 3 completed jobs → marks as closed (or reopens)

14:00  Inquiry: looks up an instrument's full calibration history

Design implication: assignment UX must be 2-click maximum. Verification is its own focused screen, not buried in the job card.

### 7.3 A Day in the Life — Karthik (Normal User)

10:00  Logs in once a week

10:01  Sees his open job requests + statuses

10:02  Raises new request for an instrument that needs calibration

10:05  Done

Design implication: Normal User UX must be brutally simple. No clutter. The job request form must be friction-free.

# Part III — Functional Design

## 8. Module Map & Responsibility Matrix

CMCMIS_SIMPLIFIED is organised around six MVP modules plus cross-cutting capabilities. The map below shows ownership of data and the natural read/write flow between modules.

### 8.1 Module Interconnection (Logical Flow)

┌─────────────────────┐

│     DASHBOARD       │ ← read-only aggregator

└──────────▲──────────┘

│

┌────────────────────────────┼────────────────────────────┐

│                            │                            │

┌───────┴────────┐         ┌─────────┴─────────┐        ┌─────────┴────────┐

│  JOB REQUESTS  │────────▶│    JOB CARDS      │◀───────│    EQUIPMENT      │

│  (intake)      │ creates │  (execution)      │ touches│  (asset master)   │

└────────┬───────┘         └─────────┬─────────┘        └─────────┬────────┘

│                           │                            │

│                           ▼                            ▼

│                  ┌──────────────────┐         ┌─────────────────┐

│                  │   PDF GENERATOR  │         │   (Phase 2:     │

│                  │ (on-demand only) │         │    SCHEDULE)    │

│                  └──────────────────┘         └─────────────────┘

▼

┌──────────────────┐

│     INQUIRY      │ ← cross-module search hub

└──────────────────┘

### 8.2 Module Ownership (MVP)

| Module | Owns (CRUD) | Reads From | Primary Actors |
| --- | --- | --- | --- |
| Dashboard | Nothing (read-only) | All modules | All roles |
| Job Requests | job_requests | Equipment, Employees | Normal → Lab In-Charge |
| Job Cards | job_cards, tasks, observations | Job Requests, Equipment | Lab Engineer, Lab In-Charge |
| Equipment | equipment + specs + cal history | Job Cards, Procurement (future) | 4 roles create; In-Charge / SA verify |
| Inquiry | Nothing (read-only) | Everything | All roles |
| Auth / RBAC | users, roles, permissions | — | Super Admin |

## 9. Critical User Journeys (MVP)

Three end-to-end journeys constitute the MVP demo. If these three flows work cleanly with real data, the MVP ships.

### 9.1 Journey A — Request to Closure (The Critical Path)

Karthik              Meena                Ravi                Meena

(Normal)        (Lab In-Charge)     (Lab Engineer)      (Lab In-Charge)

│                  │                   │                   │

│ create request   │                   │                   │

├─────────────────▶│                   │                   │

│ [SUBMITTED]      │ approve + assign  │                   │

│                  ├──────────────────▶│                   │

│                  │ [ASSIGNED]        │ start work        │

│                  │                   │ [IN-PROGRESS]     │

│                  │                   │ enter readings    │

│                  │                   │ generate PDF      │

│                  │                   │ mark complete     │

│                  │                   ├──────────────────▶│

│                  │                   │ [COMPLETED]       │ verify

│                  │                   │                   │ [CLOSED]

### 9.2 Journey B — Equipment Registration

Any role (except View-Only)        Lab In-Charge / Super Admin

│                                     │

│ fill register form                  │

│ submit                              │

│ [PENDING_VERIFICATION]              │

│                                     │ review

│                                     │ verify

│                                     │ [ACTIVE]

│ ◀──────── now available for jobs ───│

### 9.3 Journey C — Inquiry & Dashboard

Any authenticated user

│

├─▶ Dashboard

│     ├── Role-filtered KPIs

│     ├── Calibration due alerts (30 days + overdue)

│     ├── Engineer workload chart (In-Charge view)

│     └── Recently updated jobs

│

└─▶ Inquiry (4 tabs)

├── Vendor lookup

├── Product / equipment lookup

├── Job card status by ID

└── Instrument by serial number

## 10. Business Rules Catalogue

Business rules are the formal contract between operations and the codebase. Each rule below has a unique identifier and is enforced either at the API layer, the database layer, or both. Future changes to rules require a new identifier; existing identifiers are never reused.

### 10.1 Authentication Rules

| Rule ID | Rule |
| --- | --- |
| BR-AUTH-01 | Login is by employee_id only — no email / username login |
| BR-AUTH-02 | User must exist in employee directory — no self-registration |
| BR-AUTH-03 | If user has no role assigned, default to Normal User |
| BR-AUTH-04 | JWT lifetime 15 minutes; refresh token lifetime 7 days |
| BR-AUTH-05 | At least 2 Super Admin employee IDs must be seeded via SUPER_ADMIN_EMPLOYEE_IDS env CSV |
| BR-AUTH-06 | All login attempts (success and failure) are logged |
| BR-AUTH-07 | Users can be deactivated (status=INACTIVE), preserving history but blocking login |

### 10.2 RBAC Rules

| Rule ID | Rule |
| --- | --- |
| BR-RBAC-01 | Only Super Admin can assign or change a user's role |
| BR-RBAC-02 | A user has exactly one primary role at a time in v1 |
| BR-RBAC-03 | Permissions are derived: User → Role → Permission; never checked by role name in code |
| BR-RBAC-04 | Sidebar items and routes are filtered by permissions, not role |
| BR-RBAC-05 | Every API endpoint enforces permission check at the controller layer |
| BR-RBAC-06 | View-Only user can read but cannot trigger any write operation |
| BR-RBAC-07 | Role changes take effect on the user's next login or token refresh |

### 10.3 Equipment Rules

| Rule ID | Rule |
| --- | --- |
| BR-EQP-01 | Every equipment has a unique serial number within the system |
| BR-EQP-02 | Equipment must belong to either T&ME or F&PE category |
| BR-EQP-03 | F&PE equipment may have no calibration frequency (calibration optional) |
| BR-EQP-04 | T&ME equipment must have a calibration frequency in months |
| BR-EQP-05 | next_cal_due_date = last_cal_date + calibration_frequency_months |
| BR-EQP-06 | Status transitions follow the equipment state machine |
| BR-EQP-07 | Hard delete = Super Admin only; condemn = Lab In-Charge or Super Admin |
| BR-EQP-08 | Equipment search is case-insensitive on serial / model / manufacturer / type |
| BR-EQP-09 | Every registration carries registered_by, registered_at, verified_by, verified_at |
| BR-EQP-10 | New equipment defaults to PENDING_VERIFICATION; only Lab In-Charge / Super Admin can flip to ACTIVE |

### 10.4 Job Request Rules

| Rule ID | Rule |
| --- | --- |
| BR-JR-01 | A job request must reference an existing piece of equipment |
| BR-JR-02 | Job type ∈ {Calibration, Repair, Registration} |
| BR-JR-03 | A user can save a request as DRAFT before submitting |
| BR-JR-04 | Once SUBMITTED, only Lab In-Charge can change request state |
| BR-JR-05 | A submitted request must be assigned to a Lab Engineer before becoming a Job Card |
| BR-JR-06 | Auto-fill 'submitted by' from current user (cannot be overridden) |
| BR-JR-07 | High-priority repair requests surface at top of Lab In-Charge's queue |
| BR-JR-08 | Rejection requires a reason (free text + reason code) |

### 10.5 Job Card Rules

| Rule ID | Rule |
| --- | --- |
| BR-JC-01 | A job card is auto-created when a request is approved and assigned |
| BR-JC-02 | Lifecycle: ASSIGNED → IN-PROGRESS → COMPLETED → VERIFIED/CLOSED |
| BR-JC-03 | Only the assigned engineer can mark a job IN-PROGRESS or COMPLETED |
| BR-JC-04 | Only Lab In-Charge can verify or close a job card |
| BR-JC-05 | A closed job can only be REOPENED by Lab In-Charge with a reason |
| BR-JC-06 | Tasks within a job card are configurable per job type |
| BR-JC-07 | Calibration jobs require before/after readings + environmental conditions before COMPLETE |
| BR-JC-08 | Job card history is append-only — every state transition is logged immutably |

### 10.6 PDF, Audit, Security, Visibility, Master Data

| Rule ID | Rule |
| --- | --- |
| BR-PDF-01 | PDFs are generated on demand from current DB state; nothing is stored |
| BR-PDF-02 | Job card PDF: header, equipment info, tasks, observations, signatures (textual), date |
| BR-PDF-03 | Calibration certificate PDF: equipment, standards, readings, environment, uncertainty placeholders, valid-until date |
| BR-PDF-04 | All PDFs include generation timestamp + 'Generated by CMCMIS' + record ID |
| BR-AUD-01 | Every write operation on critical tables is logged in audit_logs |
| BR-AUD-02 | Audit log captures: who, what, when, before-value, after-value, IP, user-agent |
| BR-AUD-03 | Exports (PDF, Excel) logged with user + record IDs |
| BR-AUD-04 | Sensitive fields are filtered from API responses based on permission |
| BR-AUD-05 | All API responses use HTTPS in production; JWT in header, refresh in httpOnly cookie |
| BR-VIS-01 | Normal User sees only own job requests |
| BR-VIS-02 | Lab Engineer sees own assignments + team queue |
| BR-VIS-03 | Lab In-Charge and Super Admin see all |
| BR-VIS-04 | View-Only sees all data, no write actions |
| BR-MASTER-01 | All master data CRUD (employees, vendors, equipment types, divisions, lookups) is Super Admin only |

## 11. Functional Requirements (MVP)

Functional Requirements are organised by module. Each FR has a unique identifier (FR-<module>-<n>) and is in scope for v1 unless explicitly marked. All v1 FRs are MUST priority.

### 11.1 Auth & RBAC (FR-A)

| FR | Description |
| --- | --- |
| FR-A-01 | Login screen accepts employee_id + password |
| FR-A-02 | Successful login returns JWT and sets refresh cookie |
| FR-A-03 | Logout clears tokens and invalidates session |
| FR-A-04 | Protected routes redirect to login when unauthenticated |
| FR-A-05 | Sidebar items render based on user's permission set |
| FR-A-06 | Super Admin can view list of all users with their roles |
| FR-A-07 | Super Admin can assign / change a user's role |
| FR-A-08 | Super Admin can activate / deactivate a user |
| FR-A-09 | Backend exposes GET /me returning current user + permissions |
| FR-A-10 | Token refresh endpoint silently extends session |

### 11.2 Equipment (FR-E)

| FR | Description |
| --- | --- |
| FR-E-01 | List equipment with pagination, search, filter (type, status) |
| FR-E-02 | View equipment detail page with specs, cal history, linked jobs |
| FR-E-03 | Register new equipment (form with validation) — available to all roles except View-Only |
| FR-E-04 | Edit equipment details (specs, status) |
| FR-E-05 | Color-code calibration due dates (green / yellow / red) |
| FR-E-06 | Show equipment's calibration history timeline |
| FR-E-07 | Search equipment by serial, model, manufacturer |
| FR-E-08 | Soft-delete (status = CONDEMNED) for non-Super Admins |
| FR-E-09 | Lab In-Charge / Super Admin can verify equipment (PENDING → ACTIVE) |

### 11.3 Job Requests (FR-JR)

| FR | Description |
| --- | --- |
| FR-JR-01 | List job requests with filters (type, status, my-requests vs all) |
| FR-JR-02 | Create job request form (multi-section, progressive disclosure) |
| FR-JR-03 | Save as draft |
| FR-JR-04 | Submit triggers state transition to SUBMITTED |
| FR-JR-05 | View request detail with full info + state history |
| FR-JR-06 | Lab In-Charge can approve / reject with reason |
| FR-JR-07 | Approval triggers automatic Job Card creation |
| FR-JR-08 | Assignment dropdown shows lab engineers with current workload |

### 11.4 Job Cards (FR-JC)

| FR | Description |
| --- | --- |
| FR-JC-01 | List job cards with filter (status, assigned-to-me, all) |
| FR-JC-02 | View job card with horizontal status stepper |
| FR-JC-03 | Task checklist (configurable per job type) |
| FR-JC-04 | Observations & readings log (free text + structured) |
| FR-JC-05 | Engineer can transition state (Start work, Mark complete) |
| FR-JC-06 | Lab In-Charge can Verify / Close or Reopen |
| FR-JC-07 | Generate PDF of job card (on-demand download) |
| FR-JC-08 | State history visible as timeline |

### 11.5 Dashboard & Inquiry (FR-D, FR-I)

| FR | Description |
| --- | --- |
| FR-D-01 | Role-aware KPI widgets (different for each role) |
| FR-D-02 | Calibration due alerts (next 30 days + overdue) |
| FR-D-03 | Engineer workload bar chart (for Lab In-Charge) |
| FR-D-04 | Equipment status pie chart |
| FR-D-05 | Recently updated jobs table |
| FR-D-06 | Quick actions: 'Raise request', 'Add equipment' (permission-gated) |
| FR-I-01 | 4-tab interface (Vendor, Product, Job Card, Instrument) |
| FR-I-02 | Real-time search with debounce |
| FR-I-03 | Result tables with drill-down link to full record |
| FR-I-04 | Empty-state messages when no results |

## 12. Non-Functional Requirements

Non-functional requirements constrain how the system behaves rather than what it does. They are equally important and equally testable. The targets below are the v1 commitment.

| Category | Requirement | Target |
| --- | --- | --- |
| Performance | Initial page load (cold, on intranet) | Less than 3 seconds |
| Performance | API response time (95th percentile) | Less than 500 ms |
| Performance | List pagination | 25 items default, 100 maximum |
| Security | Password storage | bcrypt, ≥10 rounds (12 in production) |
| Security | JWT lifetime | 15 minutes |
| Security | Refresh token | 7 days, httpOnly cookie, SameSite=Lax |
| Security | SQL injection | Parameterised queries everywhere |
| Security | XSS | React auto-escape + Content-Security-Policy header |
| Security | CSRF | SameSite cookies + CSRF tokens on state-changing endpoints |
| Reliability | Server uptime (post go-live, business hours) | 99% |
| Reliability | DB connection pool | 10–20 connections |
| Usability | Max clicks to any feature | ≤ 3 |
| Usability | Keyboard shortcuts on power screens | Available |
| Usability | Responsive viewport | 1280–1920 primary; degrades to 768 |
| Audit | State-changing operation logging | 100% coverage |
| Audit | Audit log retention | Indefinite (until policy defined) |
| Maintainability | Code style | ESLint + Prettier enforced |
| Maintainability | Folder structure | Strict layered separation |
| Maintainability | API versioning | /api/v1/... from day one |
| Compatibility | Browsers | Chrome / Edge / Firefox (latest 2 versions) |

# Part IV — Technical Architecture

## 13. System Architecture

CMCMIS_SIMPLIFIED is a classic 3-tier monolith: a Single Page Application served by Nginx, talking to a stateless Node.js / Express REST API, backed by MySQL. The decision to remain a monolith — rather than microservices — is deliberate: a solo developer cannot productively build and operate microservices in 10 weeks, and the expected scale (50–200 concurrent users) does not warrant the operational complexity.

### 13.1 High-Level Architecture Diagram

┌──────────────────────────────────────────────────────────────────────┐

│                     ORGANIZATION INTRANET                            │

│                                                                      │

│   ┌─────────────┐                                                    │

│   │   Browser   │  (Chrome / Edge / Firefox — desktop+laptop)        │

│   │  React SPA  │                                                    │

│   └──────┬──────┘                                                    │

│          │ HTTPS                                                     │

│   ┌──────▼─────────────────────────────────────────────┐             │

│   │              NGINX (Reverse Proxy)                 │             │

│   │   • Serves static SPA + /assets/*                  │             │

│   │   • Proxies /api/* → Node                          │             │

│   │   • SSL termination + security headers             │             │

│   └──────┬─────────────────────────────────────────────┘             │

│   ┌──────▼─────────────────────────────────────────────┐             │

│   │           NODE.JS + EXPRESS                        │             │

│   │   • API /api/v1/...                                │             │

│   │   • PM2 cluster: 2–4 workers                       │             │

│   │   • Stateless (JWT + cookie sessions)              │             │

│   │   • On-demand PDF generation                       │             │

│   └──────┬─────────────────────────────────────────────┘             │

│          │ mysql2 (pool 10–20)                                       │

│   ┌──────▼─────────────────────────────────────────────┐             │

│   │                  MySQL 8.x                         │             │

│   │   • InnoDB, utf8mb4                                │             │

│   │   • ~65–75 tables                                  │             │

│   └────────────────────────────────────────────────────┘             │

│   ┌────────────────────────────────────────────────────┐             │

│   │   phpMyAdmin (IP-whitelisted, Super Admin only)    │             │

│   └────────────────────────────────────────────────────┘             │

└──────────────────────────────────────────────────────────────────────┘

### 13.2 Architectural Style — Decision Matrix

| Style | Verdict | Reason |
| --- | --- | --- |
| Monolith | Chosen | Solo dev, 10 weeks, single org deployment — anything else is malpractice at this scale |
| Microservices | Rejected | Would burn 4 weeks on infrastructure for zero v1 payoff |
| Serverless / FaaS | Rejected | On-prem deployment; FaaS not available in target environment |
| SPA + REST API | Chosen | Standard, well-understood, fits team skills |
| SSR (Next.js) | Rejected | Internal tool, SEO irrelevant, adds complexity |

## 14. Network & Deployment Topology

The production topology runs on a single Linux server inside the organisation's intranet. Only Nginx is exposed; Node, MySQL, and phpMyAdmin are bound to loopback or IP-whitelisted to constrain the attack surface.

| Layer | Process | Port | Externally Reachable |
| --- | --- | --- | --- |
| Nginx | systemd service | 443 (HTTPS) + 80→443 redirect | Yes — LAN / VPN |
| Node.js | PM2-managed, 2–4 workers | 3000 (loopback only) | No |
| MySQL | systemd service | 3306 (loopback only) | No |
| phpMyAdmin | Nginx vhost | 8080 (IP whitelist) | Admin only |

### 14.1 Environment Strategy

| Environment | Purpose | DB | Auth |
| --- | --- | --- | --- |
| development | Developer laptop | Local MySQL via phpMyAdmin | Dev passwords from seed |
| staging | Pre-production (if available) | Org test DB | Same as dev |
| production | Live system | Org production MySQL | SSO-ready, env-driven |

## 15. Folder Structure

The codebase is split into two independent projects: a backend Node.js API and a frontend React SPA. The backend follows a strict layered architecture; the frontend follows a feature-based organisation. Both are version-controlled in the same Git repository (mono-repo) but built and deployed independently.

### 15.1 Backend Folder Structure

backend/

├── src/

│   ├── config/           env loading, DB config, constants, logger

│   ├── db/               migrations, seeders, migrate runner

│   ├── routes/v1/        route definitions (auth, equipment, jobs, ...)

│   ├── controllers/      HTTP layer (THIN — parse, call, respond)

│   ├── services/         business logic (THICK — rules, state machines)

│   ├── repositories/     SQL queries only (raw SQL via mysql2)

│   ├── middleware/       auth, permissions, validate, error, logger

│   ├── validators/       zod schemas (single source for input shape)

│   ├── errors/           custom error classes

│   ├── pdf/              pdfkit templates (job card, cal cert)

│   ├── utils/            date, pagination, hash, response helpers

│   └── app.js            express app: middleware → routes → error

├── server.js             entry point

├── ecosystem.config.js   PM2 configuration

├── package.json

├── .env.example

├── .eslintrc.cjs

├── .prettierrc

└── README.md

### 15.2 Backend Layered Flow

HTTP request

│

▼

┌────────────┐

│  ROUTE     │ ← URL pattern + middleware chain

└─────┬──────┘

▼

┌────────────┐

│ CONTROLLER │ ← THIN: parse req, call service, format response

└─────┬──────┘

▼

┌────────────┐

│  SERVICE   │ ← THICK: business logic, state machines, transactions

└─────┬──────┘

▼

┌────────────┐

│ REPOSITORY │ ← raw SQL only, returns rows / domain objects

└─────┬──────┘

▼

┌────────────┐

│   MySQL    │

└────────────┘

| Layer | Owns | Does NOT Own |
| --- | --- | --- |
| Route | URL → handler mapping, middleware chain | Business logic |
| Controller | HTTP request / response shaping | SQL, business rules |
| Service | Business rules, transactions, state machines | HTTP concerns, raw SQL |
| Repository | SQL queries, parameter binding | Business logic, validation |

### 15.3 Frontend Folder Structure (Feature-Based)

frontend/

├── src/

│   ├── api/              axios client + per-resource API files

│   ├── components/

│   │   ├── ui/           Button, Input, Modal, Table, Pagination, Badge

│   │   ├── layout/       AppShell, Sidebar, Header, Breadcrumbs

│   │   └── shared/       StatusBadge, KpiCard, DataTable, PermissionGate

│   ├── features/

│   │   ├── auth/

│   │   ├── equipment/

│   │   ├── jobRequests/

│   │   ├── jobCards/

│   │   ├── dashboard/

│   │   └── inquiry/

│   ├── hooks/            useAuth, usePermissions, useDebounce

│   ├── store/            zustand stores (ui, auth)

│   ├── routes/           AppRouter, ProtectedRoute, PermissionRoute

│   ├── utils/, constants/, styles/

│   ├── App.jsx

│   └── main.jsx

├── public/

├── vite.config.js

├── tailwind.config.js

├── package.json

└── README.md

Each feature folder contains its own pages, components, hooks, and (optionally) store. This keeps related code co-located and makes adding or removing features a single-folder operation.

## 16. API Design Conventions

Every endpoint follows a strict envelope convention so that frontend code, logging, and audit infrastructure can rely on a uniform shape. All endpoints live under /api/v1/ from day one to enable forward-compatible versioning.

### 16.1 URL Patterns

| Operation | Pattern | Example |
| --- | --- | --- |
| List | GET /api/v1/<resource>?page=&pageSize=&q=&... | GET /api/v1/equipment?page=1&pageSize=25&type=tme |
| Create | POST /api/v1/<resource> | POST /api/v1/equipment |
| Detail | GET /api/v1/<resource>/:id | GET /api/v1/equipment/42 |
| Update | PUT /api/v1/<resource>/:id | PUT /api/v1/equipment/42 |
| Sub-action | POST /api/v1/<resource>/:id/<action> | POST /api/v1/job-cards/42/transition |
| PDF download | GET /api/v1/<resource>/:id/pdf | GET /api/v1/job-cards/42/pdf |

### 16.2 Response Envelopes

Success (single):

{

"success": true,

"data": { ... },

"meta": { "requestId": "abc-123", "timestamp": "2026-05-15T..." }

}

Success (list with pagination):

{

"success": true,

"data": [ ... ],

"pagination": {

"page": 1, "pageSize": 25, "total": 247, "totalPages": 10

},

"meta": { "requestId": "..." }

}

Error:

{

"success": false,

"error": {

"code": "EQUIPMENT_NOT_FOUND",

"message": "Equipment with ID 12345 does not exist.",

"details": null

},

"meta": { "requestId": "..." }

}

### 16.3 HTTP Status Code Discipline

| Status | When |
| --- | --- |
| 200 | Successful GET, PUT, PATCH |
| 201 | Successful POST that creates a resource |
| 204 | Successful DELETE (no body) |
| 400 | Validation error |
| 401 | Not authenticated (no / invalid / expired token) |
| 403 | Authenticated but lacks permission |
| 404 | Resource not found |
| 409 | Conflict (duplicate serial, invalid state transition) |
| 422 | Semantically invalid (rare) |
| 500 | Unexpected server error |

## 17. Final Tech Stack

Every library below was selected against three criteria: (1) maturity and community support, (2) minimal surface area to learn for a solo dev, (3) good fit for the constraints (no Redis, no email, no file storage, MySQL only).

### 17.1 Backend Stack

| Concern | Library | Version | Why |
| --- | --- | --- | --- |
| Web framework | express | ^4 | Stable, ubiquitous, simple |
| DB driver | mysql2/promise | ^3 | Fastest MySQL driver in Node, native promises |
| Validation | zod | ^3 | Single source of truth for schemas + types |
| JWT | jsonwebtoken | ^9 | Industry standard |
| Password hash | bcryptjs | ^2 | Pure-JS, no native build pain |
| Logger | pino + pino-pretty | ^8 | Faster than Winston, structured JSON |
| Env loader | dotenv | ^16 | Standard |
| Env validation | envalid | ^8 | Fail-at-boot if env missing |
| Date | dayjs | ^1 | Lightweight (2KB), moment-compatible API |
| PDF | pdfkit | ^0.14 | Programmatic, lightweight, server-friendly |
| Rate limit | express-rate-limit | ^7 | Simple, in-memory; sufficient for v1 |
| Security headers | helmet | ^7 | OWASP-friendly defaults |
| CORS | cors | ^2 | Standard |
| Process manager | pm2 | latest | Cluster mode, restarts, logs |
| Lint / Format | eslint, prettier, husky | latest | Enforced at commit |

### 17.2 Frontend Stack

| Concern | Library | Why |
| --- | --- | --- |
| Build | vite | Fast HMR, modern default |
| Framework | react 18 | Already chosen |
| Routing | react-router-dom v6 | Standard SPA routing |
| Local state | React useState / useReducer | Built-in |
| Global state | zustand | Tiny, no boilerplate |
| Server state | @tanstack/react-query | Caching, refetch, mutations — saves ~30% of FE code |
| HTTP client | axios | Interceptors for auth, error handling |
| Forms | react-hook-form + zod | Performant, schema shared with backend |
| UI primitives | Custom on Tailwind | Avoids design lock-in of MUI/Ant |
| Icons | lucide-react | Clean, tree-shakable |
| Charts | recharts | Already in scope |
| Date | dayjs | Code symmetry with backend |
| Toasts | sonner | Lightweight, beautiful defaults |
| Styling | tailwindcss v3 | Already chosen |

### 17.3 Deliberately NOT Picked

| Library / Tool | Reason for Rejection |
| --- | --- |
| Redux / Redux Toolkit | Overkill for this scale. Zustand + React Query covers it. |
| Sequelize / Prisma / TypeORM | Existing 64-table DB + metrology complexity = raw SQL wins |
| GraphQL | Adds a layer with zero v1 benefit; REST is correct |
| TypeScript (v1) | JS + JSDoc + Zod is faster to ship; can migrate later |
| Material-UI / Ant Design | Heavy, opinionated, hard to escape |
| Next.js | SSR irrelevant for internal SPA; Vite is faster to develop in |
| MongoDB / Mongoose | MySQL was chosen by the organisation |

## 18. Critical Decision: Raw SQL over ORM

One of the most consequential decisions in the project is the choice of database access layer. After weighing four options, raw SQL via mysql2/promise with a repository pattern was selected.

| Dimension | Raw SQL | Knex | Sequelize | Prisma |
| --- | --- | --- | --- | --- |
| Fits existing 64-table schema | Yes | Yes | Partial | Partial |
| DBMS learning value | Strong | Moderate | Low | Low |
| Complex joins / window functions | Strong | Strong | Weak | Partial |
| Migrations | Manual | Built-in | Built-in | Built-in |
| Debugging (visibility of SQL) | Easy | Easy | Hard | Hard |
| Type safety | Low | Low | Low | Strong |
| Initial dev speed | Slow | Medium | Fast | Fast |
| Long-term maintainability | High | High | Medium | High |

### 18.1 Reasons for the Choice

- The existing 64-table database is already defined; ORMs work best when they own the schema.

- Metrology queries involve joins, window functions, conditional aggregates — these are friction points with ORMs.

- As a solo developer, fewer abstractions reduce mental load and debugging time.

- Writing SQL builds a foundational engineering skill that compounds.

- When something is slow or wrong, the actual SQL is directly visible.

Trade-off: more repository boilerplate. This is mitigated with shared helpers (db.query, db.queryOne, db.transaction) that wrap mysql2.

## 19. Security Architecture

Security in CMCMIS_SIMPLIFIED is layered. No single mechanism is relied upon; every request passes through transport security, rate limiting, authentication, authorisation, input validation, and parameterised SQL. The order of these layers matters and is enforced by middleware composition.

### 19.1 Security Layer Stack

Browser (Client)

│

▼

HTTPS / TLS               ← Nginx

HSTS, CSP, XFO            ← helmet middleware

CORS allowlist            ← cors middleware

│

▼

Rate limit                ← express-rate-limit (tight on /login)

│

▼

JWT verification          ← auth middleware

Permission check          ← permissions middleware

│

▼

Zod input validation      ← validate middleware

│

▼

Business logic + audit logging   ← service layer

│

▼

Parameterised SQL          ← mysql2 (? placeholders only)

│

▼

MySQL

### 19.2 Token Strategy

| Token Type | Storage | Lifetime | Purpose |
| --- | --- | --- | --- |
| Access JWT | Memory (Authorization header) | 15 minutes | API authentication |
| Refresh token | httpOnly cookie (SameSite=Strict, Secure) | 7 days | Silent re-issue of access token |
| Token blacklist | Database table | Until expiry | Explicit logout invalidation |

### 19.3 OWASP Top 10 Mitigations

| OWASP Risk | Mitigation in CMCMIS_SIMPLIFIED |
| --- | --- |
| Injection (SQL) | Parameterised queries always; mysql2 ? placeholders |
| Broken Authentication | JWT + bcrypt + rate-limit on /login |
| Sensitive Data Exposure | HTTPS only in production; no secrets in logs |
| XML / XXE | Not applicable — JSON only |
| Broken Access Control | Permission middleware on every protected route |
| Security Misconfiguration | helmet, env-based config, no debug in production |
| Cross-Site Scripting | React auto-escapes; CSP header |
| Insecure Deserialization | Zod validates everything entering the system |
| Vulnerable Dependencies | npm audit in CI; renovate-bot post-v1 |
| Insufficient Logging | Audit logs on all writes + login attempts |

## 20. PDF Generation Strategy

All PDFs in CMCMIS_SIMPLIFIED — job cards, calibration certificates, future report exports — are generated on demand from current database state. No PDFs are stored. This is a deliberate simplification that eliminates entire categories of infrastructure (object storage, virus scanning, retention policies, backup of files).

### 20.1 pdfkit vs Puppeteer — The Decision

| Aspect | pdfkit | Puppeteer |
| --- | --- | --- |
| Bundle size | ~1 MB | ~300 MB (Chromium) |
| Speed | Fast (native PDF) | Slower (renders HTML → PDF) |
| Styling flexibility | Programmatic, structured docs | Full CSS, complex layouts |
| Server resource | Low | High |
| Best for | Job cards, certs, invoices | Marketing PDFs, complex visuals |

Choice: pdfkit. The documents produced (job cards, calibration certificates) are structured business forms — not rich brochures — so the programmatic approach is the right fit.

### 20.2 PDF Generation Pattern

GET /api/v1/job-cards/:id/pdf

│

▼

Controller (permission check: job_card:generate-pdf)

│

▼

Service.fetchJobCardFullDetails(id)

│

▼

pdf/jobCardPdf.js → builds PDFKit doc in memory

│

▼

res.setHeader('Content-Type', 'application/pdf')

res.setHeader('Content-Disposition', 'attachment; filename="job-card-12345-20260515.pdf"')

│

▼

doc.pipe(res); doc.end();     // STREAM, do not buffer entire PDF

│

▼

audit.service.logExport(userId, 'job_card_pdf', id)

⚠ NOTE — PDFs MUST be streamed. Buffering a 50-page PDF in memory across 100 concurrent requests can cause out-of-memory failures.

## 21. Logging & Error Handling

### 21.1 Logging Strategy

| Concern | Approach |
| --- | --- |
| Logger | Pino (JSON structured) |
| Levels | error, warn, info, debug |
| Per-request log | method, URL, status, duration, requestId, userId — one line per request |
| Error log | Full stack trace + context |
| Sensitive data | Passwords, tokens, full body on auth routes — NEVER logged |
| Request ID | Generated per request; included in every log line + response envelope |
| Production output | stdout → PM2 → log files → log rotation |

### 21.2 Error Class Hierarchy

ApiError (base)

├── ValidationError      (400)

├── UnauthorizedError    (401)

├── ForbiddenError       (403)

├── NotFoundError        (404)

└── ConflictError        (409)

Each error class carries: statusCode, code (machine-readable), message (human-readable), details (optional). A single central error middleware converts any thrown error into the standard error envelope and logs appropriately.

### 21.3 Error Handling Flow

Throw inside service:

throw new NotFoundError('Equipment not found', 'EQUIPMENT_NOT_FOUND')

│

▼

Propagates up to controller (express-async-errors)

│

▼

Hits central error middleware

│

▼

Switch on error type:

• ApiError (subclasses) → use error.statusCode + error.code

• ZodError              → 400 + format details

• Anything else         → 500 + log full stack, return generic message

│

▼

Send standard error envelope, log with correlation ID

## 22. Environment & Configuration

All environment-specific values are loaded once at startup from .env files and validated against a schema. Missing or malformed values cause the application to refuse to boot — which is preferable to runtime failures discovered by users.

### 22.1 The .env Structure

# App

NODE_ENV=development            # development | production | test

PORT=3000

APP_NAME=CMCMIS_SIMPLIFIED

API_BASE_PATH=/api/v1

# Database

DB_HOST=127.0.0.1

DB_PORT=3306

DB_USER=cmcmis_app

DB_PASSWORD=<secret>

DB_NAME=cmcmis

DB_POOL_MIN=2

DB_POOL_MAX=20

# Security

JWT_SECRET=<random-256-bit>

JWT_EXPIRES_IN=15m

REFRESH_SECRET=<random-256-bit-different>

REFRESH_EXPIRES_IN=7d

BCRYPT_ROUNDS=10

CORS_ORIGINS=http://localhost:5173,https://cmcmis.org.intranet

# Bootstrap (≥2 IDs required)

SUPER_ADMIN_EMPLOYEE_IDS=EMP1001,EMP1002

# Logging

LOG_LEVEL=info

# Rate limit

RATE_LIMIT_AUTH_PER_MIN=5

RATE_LIMIT_GENERAL_PER_MIN=100

All values are validated using envalid. Missing JWT_SECRET, missing DB credentials, or fewer than 2 Super Admin IDs causes immediate startup failure with a descriptive error message.

## 23. Request Lifecycle (End-to-End)

Every authenticated request flows through the same nine steps. Memorising this lifecycle is the foundation of debugging the system.

1. Browser sends: PUT /api/v1/equipment/42  (Authorization: Bearer ey...)

│

▼

2. Nginx receives, terminates TLS, forwards to localhost:3000

│

▼

3. Express app middleware:

a. requestLogger → assigns requestId, logs start

b. helmet        → security headers

c. cors          → origin check

d. express.json  → parse body

e. rate-limit    → check IP

│

▼

4. Route /api/v1/equipment/:id (PUT):

a. authMiddleware       → verify JWT, attach req.user

b. permissionsMiddleware → check 'equipment:update'

c. validateMiddleware    → zod parse req.body

│

▼

5. Controller: extract input + req.user, call service

│

▼

6. Service:

a. fetch existing record (via repo)

b. check business rules (state transitions etc)

c. BEGIN transaction

d. repository.update(id, fields)

e. auditService.logChange(user, 'equipment.update', id, before, after)

f. COMMIT

g. return updated record

│

▼

7. Controller wraps result in success envelope, sends 200

│

▼

8. requestLogger → logs end (status, duration)

│

▼

9. Nginx → Browser

# Part V — Domain Model

## 24. State Machines

Three explicit state machines govern the behaviour of CMCMIS_SIMPLIFIED. Defining states and allowed transitions formally — rather than implicitly through scattered if-statements — prevents data corruption bugs and makes the system auditable.

### 24.1 Job Request Lifecycle

[DRAFT] ──submit──▶ [SUBMITTED] ──assign──▶ [ASSIGNED]

│                       │

│ reject                │ (becomes Job Card)

▼                       ▼

[REJECTED]              (see 24.2)

| From State | Event | To State | Allowed By |
| --- | --- | --- | --- |
| — | create | DRAFT | Normal / Engineer / In-Charge / Super Admin |
| DRAFT | submit | SUBMITTED | Owner of the request |
| SUBMITTED | reject | REJECTED | Lab In-Charge / Super Admin |
| SUBMITTED | approve + assign engineer | ASSIGNED | Lab In-Charge / Super Admin |

### 24.2 Job Card Lifecycle

[ASSIGNED] ─start─▶ [IN-PROGRESS] ─complete─▶ [COMPLETED] ─verify─▶ [VERIFIED/CLOSED]

│

│ reopen

▼

[REOPENED]

| From State | Event | To State | Allowed By |
| --- | --- | --- | --- |
| ASSIGNED | start work | IN-PROGRESS | Assigned engineer only |
| IN-PROGRESS | mark complete | COMPLETED | Assigned engineer only |
| COMPLETED | verify | VERIFIED/CLOSED | Lab In-Charge / Super Admin |
| VERIFIED/CLOSED | reopen (with reason) | REOPENED | Lab In-Charge / Super Admin |
| REOPENED | complete again | COMPLETED | Assigned engineer |

### 24.3 Equipment Lifecycle

[PENDING_VERIFICATION] ──verify──▶ [ACTIVE] ──┬─▶ [UNDER_CALIBRATION] ─▶ [ACTIVE]

├─▶ [UNDER_REPAIR]       ─▶ [ACTIVE]

├─▶ [OUT_OF_TOLERANCE]   ─▶ [UNDER_REPAIR]

└─▶ [CONDEMNED]

### 24.4 Calibration Status (Display Badges)

| Status | Meaning | Color |
| --- | --- | --- |
| VALID | Within calibration period | Green |
| DUE_SOON | Less than 30 days to next calibration | Yellow |
| OVERDUE | Past calibration due date | Red |
| OUT_OF_TOLERANCE | Last calibration failed | Black |
| NOT_REQUIRED | F&PE equipment, calibration not applicable | Grey |

## 25. Entity Universe (Precursor to Phase 3 Schema)

The data model is grouped into 13 entity clusters. Together these clusters total approximately 65–75 tables — well aligned with the existing ~64-table database that already exists in the organisation. The exact reconciliation between target schema and existing tables is the subject of Phase 3.

| # | Cluster | Approx. Tables | Example Entities |
| --- | --- | --- | --- |
| 1 | Identity & Access | 8–10 | users, roles, permissions, role_permissions, user_roles, sessions, login_audit |
| 2 | Organisation | 4–5 | divisions, departments, employees, designations, locations |
| 3 | Equipment Master | 8–10 | equipment, types, categories, specs, status, manufacturers, models, history |
| 4 | Job Lifecycle | 6–8 | job_requests, types, job_cards, tasks, observations, readings, state_history |
| 5 | Calibration | 6–8 | cal_records, standards, traceability, certs, env_conditions, uncertainty, OOT |
| 6 | Maintenance | 4–5 | maint_records, types, PM_plans, breakdowns, AMC |
| 7 | Scheduling | 3–4 | schedules, events, recurrence, notifications |
| 8 | Procurement | 6–7 | vendors, vendor_categories, POs, PO_lines, spares, stock, movements |
| 9 | Documents | 3–4 | docs, versions, types, signatures |
| 10 | Audit & Logs | 3–4 | audit_logs, change_history, login_audit, export_audit |
| 11 | Notifications | 3 | notifications, preferences, log |
| 12 | Lookups | 5–7 | units, statuses, frequencies, system_types |
| 13 | Reporting | 2–3 | saved_reports, runs, scheduled |
| — | TOTAL | ~65–75 | Realistic for industry-grade metrology MIS |

ℹ INFO — Table count is an outcome, not a goal. The 60+ table target naturally emerges from honest entity modelling for this domain. We will not artificially pad the schema to hit a number.

## 26. Critical Gaps in Original Specification (Resolved / Logged)

During Phase 0 a number of gaps were identified in the original project description. Each gap has been categorised and either brought into v1 scope, deferred with rationale, or flagged for stakeholder discussion.

| # | Gap | Status / Resolution |
| --- | --- | --- |
| 1 | Calibration certificates | In scope — PDF generated on demand |
| 2 | Traceability chain to national standards | Schema-ready; not enforced in v1 |
| 3 | Out-of-tolerance (OOT) handling | Captured as observation in v1 |
| 4 | Uncertainty budget calculations | Field present, no formal budget calc |
| 5 | Audit logs | In scope — basic v1, per-write coverage |
| 6 | Approval workflow detail | Defined in state machine; v1 |
| 7 | Notification spec | In-app only in v1 (no email) |
| 8 | Document storage strategy | No storage — PDFs generated on demand |
| 9 | Data retention policy | Indefinite until organisation defines |
| 10 | SSO protocol | AD-ready; plug-in later (post-v1) |
| 11 | Backup & DR plan | OPEN — must discuss during Phase 8 |
| 12 | Concurrency / scale numbers | ~50–200 concurrent users assumed |
| 13 | Print calibration certificate | In scope (PDF) |
| 14 | Barcode / QR support | Out of scope (backlog) |
| 15 | Mobile / tablet view | Out — responsive viewport only |
| 16 | Classified data handling | Row-level visibility + secure sessions + limited exports |
| 17 | NABL / ISO 17025 compliance | Architecture-aware, not feature-enforced |

⚠ RISK — Item 11 (Backup & DR) is the most significant unresolved item. For a government-grade production system this MUST be designed before go-live. It is logged for explicit discussion during Phase 8.

# Part VI — Execution Plan

## 27. Risk Register

Risks are tracked across the project with severity, probability, and explicit mitigation. The register is reviewed weekly during the 10-week sprint and updated as risks emerge or close.

| # | Risk | Severity | Probability | Mitigation |
| --- | --- | --- | --- | --- |
| R1 | Scope creep during internship | High | Very High | Strict weekly milestones, no scope creep, MVP discipline |
| R2 | Existing 64-table DB structure unknown | Medium | High | Phase 3 starts with full schema audit |
| R3 | No backup infrastructure | High | Certain | Logged for Phase 8 deployment discussion |
| R4 | No QA support (solo developer) | Medium | Certain | Weeks 8–9 reserved for self-QA + bug bash |
| R5 | Stakeholder feedback delayed | Medium | High | Demo every 2 weeks if possible |
| R6 | Solo developer burnout | High | Moderate | Sleep > rushed code; weekly milestones; rest discipline |
| R7 | Compliance requirements surface mid-build | Medium | Moderate | Architecture stays compliance-friendly throughout |
| R8 | Raw SQL slows initial development | Low | Moderate | Repository helpers + shared query utilities |
| R9 | Audit logging adds latency | Low | Low | Async fire-and-forget write pattern |
| R10 | Single Super Admin = bottleneck | Medium | High | Bootstrap requires ≥2 Super Admin IDs |

## 28. 10-Week Master Roadmap

The roadmap is the spine of the project. Each week has a single primary objective and a clear definition of done. Deviations from the weekly milestone are explicit and logged.

| Week | Focus | Definition of Done |
| --- | --- | --- |
| 1 | Foundation — Phase 0+1+2 docs, repo setup, skeleton | Skeleton runs end-to-end: React → Express → MySQL |
| 2 | Database — Phase 3 schema, migrations, seed data | All target tables created; seed data loaded; reset script works |
| 3 | Auth + RBAC (MVP Module 1) | Three test users (different roles) log in, see different sidebars |
| 4 | Equipment module | Register, list, search, view detail; verify flow works |
| 5 | Job Requests | DRAFT → SUBMITTED → APPROVED auto-creates Job Card |
| 6 | Job Cards | Full lifecycle + PDF generation working end-to-end |
| 7 | Dashboard + Inquiry (MVP Module 3) | KPIs render live data; 4-tab inquiry returns real results |
| 8 | Polish + cross-module integration | App 'feels finished' — no broken empty / error states |
| 9 | Hardening — audit logs, security, performance | Audit logs visible; security review done; query indexes in place |
| 10 | Demo prep + handover documentation | Seeded demo data; docs; runbook; clean stakeholder demo |

### 28.1 Weekly Discipline Rule

✓ DECISION — If a task is not on the line for the current week, it goes to the backlog. No exceptions. This discipline is the single most important factor in finishing a 10-week solo project at production quality.

## 29. Master Decision Ledger

Every locked decision is captured here with its identifier so it can be referenced in code reviews, design discussions, and audits. New decisions extend the ledger; existing decisions are not retroactively changed without a new ID.

| # | Decision | Status |
| --- | --- | --- |
| D1 | JavaScript + JSDoc + Zod (no TypeScript in v1) | Locked |
| D2 | Raw SQL via mysql2/promise + Repository Pattern (no ORM) | Locked |
| D3 | React Query for server state | Locked |
| D4 | Zustand for client state | Locked |
| D5 | pdfkit for PDF generation (over Puppeteer) | Locked |
| D6 | Pino for logging (over Winston) | Locked |
| D7 | Layered backend: Routes → Controllers → Services → Repositories | Locked |
| D8 | Feature-based frontend folders (not layer-based) | Locked |
| D9 | Nginx as reverse proxy in production | Locked |
| D10 | New equipment defaults to PENDING_VERIFICATION | Locked |
| D11 | At least 2 Super Admin employee IDs seeded via env CSV | Locked |
| D12 | Five roles only (Admin role removed, absorbed by Super Admin) | Locked |
| D13 | Equipment registration open to 4 roles (not View-Only) | Locked |
| D14 | Equipment verification: Lab In-Charge or Super Admin | Locked |
| D15 | Master data CRUD: Super Admin only | Locked |
| D16 | Lookup values seeded in Week 2; UI deferred to Phase 2 | Locked |
| D17 | JWT 15 minutes + refresh cookie 7 days (httpOnly) | Locked |
| D18 | Bootstrap via .env SUPER_ADMIN_EMPLOYEE_IDS CSV | Locked |
| D19 | All PDFs streamed (never buffered fully) | Locked |
| D20 | Audit log on every state-changing operation | Locked |

## 30. Next Phase — Phase 3 Preview

Phase 3 is the most decision-dense phase in the project: the database schema is finalised. Schema decisions, once deployed and populated with real data, are expensive to reverse. We will spend the time to get this right.

### 30.1 Phase 3 Deliverables

- Existing 64-table schema audit — keep / modify / drop / replace decisions documented

- Cluster-by-cluster Entity-Relationship design covering all 13 entity clusters

- Final CREATE TABLE scripts with primary keys, foreign keys, indexes, unique constraints, audit columns, character set, comments

- Seed data scripts: roles, permissions, role_permissions, Super Admin records, lookup tables (statuses, types, units, frequencies)

- Migration runner: versioned SQL files with rollback procedure

- Visual ER diagram of the final schema

### 30.2 Required to Begin Phase 3

- Export of existing DB structure: mysqldump --no-data or SHOW CREATE TABLE outputs for all 64 tables

- Brief note on which existing tables are: definitely in use / probably dead / unsure

- Two or more employee IDs to seed as initial Super Admins

ℹ INFO — If exporting the existing DB takes time, Phase 3 can begin with a clean target schema design, and the reconciliation against existing tables can happen as a second step. Either order works — the constraint is that both pieces must come together before Phase 4 (API Contracts).

# Part VII — Summary

## 31. Master Summary Card

A single-page reference summarising the current state of the project. Useful for stakeholder briefings and as a developer pocket reference.

| Category | Snapshot |
| --- | --- |
| System | CMCMIS_SIMPLIFIED · monolith · on-prem · MySQL · Node + Express · React + Vite + Tailwind |
| Timeline | 10 weeks · solo developer · industry-grade target |
| Roles | 5 — Super Admin, Lab In-Charge, Lab Engineer, Normal User, View-Only User |
| MVP modules | Auth/RBAC · Equipment · Job Requests · Job Cards · Dashboard · Inquiry |
| Out of MVP | Schedule · Procurement · Reports · Master Data UI · Notifications |
| Authentication | Employee-ID + DB password · JWT 15m + refresh 7d cookie · SSO-ready architecture |
| DB access layer | Raw SQL + Repository Pattern · mysql2/promise |
| PDFs | pdfkit · streamed · no storage |
| Permissions | 3-layer RBAC (user → role → permission → resource:action) · always enforced |
| State machines | Job Request · Job Card · Equipment (3 explicit machines) |
| Audit | Every write operation logged (who/what/when/before/after/IP) |
| Phases completed | Phase 0, Phase 1, Phase 2 |
| Phase next | Phase 3 — Database Design |
| Decisions locked | 20 |
| Open items | Backup/DR strategy · NABL details · existing schema audit |
| Biggest risk | Scope creep — enforced by weekly milestone discipline |

## Document Sign-off

This Master Reference Document represents the consolidated, locked state of CMCMIS_SIMPLIFIED through the end of Phase 2. It supersedes all prior interim documents. Any changes to the content of this document require explicit revision with a new document version number.

| Role | Name | Signature / Date |
| --- | --- | --- |
| Prepared by | Deep Sorathiya (Software Developer Intern) |  |
| Reviewed by |  |  |
| Approved by |  |  |

End of document.